## Ingersoll
Date | Shift | Operator | Service date | Run Hours | Next service hrs | Oil Level | Oil Leaks | Air Leaks | Pressure (Bar) | Dew point (°C)(inbuilt) | Dew point (°C)(External) | Element Temp (°C) | Air Filter Condition | Prefilter condition | Condensate Drained | Alarms on Panel | Remarks/Actions Taken
2025-11-15 |  |  | 2025-03-20 |  | 11602 | low | NO | NO | 8 |  | 11 |  | OK | ok | OK | NONE | Top up the oil
2025-11-16 |  |  |  | 11333 | 11602 | Ok | No | NO | 7 |  | 10 |  | ok | ok | ok
2025-11-17 |  |  |  | 11333 | 11602 | Ok | No | NO | 6.6 | - | 19 |  | ok | ok | ok
2025-11-18 |  |  |  | 11350 |  | ok | No | No | 6.15 |  | 20 |  | ok | ok | ok | None
2025-11-19 |  |  |  | 11367 |  | ok | no | no | 7 |  | 23 |  | ok | ok | ok | None
2025-11-24 |  |  |  | 11367 | [6 empty] | 23 |  | ok | ok |  | None | standby
2025-11-25 |  |  |  | 11367 | [6 empty] | 20 |  | ok | ok |  | None
2025-11-26 |  |  |  | 11367
2025-11-27 |  |  |  | 11367
2025-11-28 |  |  |  | 11370
2025-11-29 |  |  |  | 11370
11372

## Atlas Copco
Date | Shift | Operator Name | Service date | Run Hours | Next service hrs | Oil Level | Oil Leaks | Air Leaks | Pressure (Bar) | Dew point (°C)(inbuilt) | Dew point (°C)(External) | Element Temp (°C) | Air Filter Condition | Prefilter condition | Condensate Drained | Alarms on Panel | Remarks/Actions Taken
2025-01-15 |  |  | 2025-05-23 | 13502 |  | ok | NO | [9 empty] | on standby
2025-01-18 |  |  |  | 13502 | 13965 | ok | NO
2025-11-19 |  |  |  | 13502 |  | ok | No
2025-11-24 |  |  |  | 13542 |  | Ok | No | No | 7 | 64 | 23 | 73 | ok | ok | ok | Expansion module | receiver drained manually, auto drain failed
2025-11-25 |  |  |  | 13564 |  | Ok | No | No | 7 | 60 | 20 | 72 | Ok | Ok | Ok | Expansion module | receiver drained manually, auto drain failed
2025-11-26 |  |  |  | 13587 |  | Ok | No | No | 7 | 59 | 19 | 72 | Ok | Ok | Ok |  | receiver drained manually, auto drain failed
2025-11-27 |  |  |  | 13615 |  | Ok | No | No | 7 | 63 | 21 | 73 | Ok | Ok | Ok
2025-11-28 |  |  |  | 13632 |  | Ok | No | No | 7 | 51 | 24 | 73 | Ok | Ok | Ok
2025-11-29 |  |  |  | 13658 |  | Ok | No | No | 7 | 62 | 23 | 72 | Ok | Ok | ok
2025-11-30 |  |  |  | 13679 |  | Ok | No | No | 7 | 63 | 23 | 73 | ok | ok | ok

## EDG
Date | Shift | Operator Name | Last service date | Next service date | Run Hours | Hours at last service | Interval hrs | Next service hrs | Oil Level | Oil Leaks | Coolant level | Fuel level | Alarms on Panel | Remarks/Actions Taken
2025-11-18 |  |  | 2025-11-03 |  | 884.7 | 884.7 | 250 | 1134.7 | ok | NO | ok | 0.75
|  |  | 2025-11-19 |  | 884.7 | 884.7 |  |  | ok | No | ok | 0.75

## Weekly_Monthly Checklist
Week/Month | Air Filter Condition | Oil Filter Condition | Separator Element | Drain System Function | Remarks/Actions Taken | Checked By | Date